## NetZero
Entered data is blue, calculations are black
10 kW Net Zero system
General Information
Company
Contact
Office
Cell
Panel manufacturer |  | xxx
Type |  | polycrystaline
Watts per panel |  | 260
Cost per panel |  | 230
Number of panels |  | 40
Total panel kilowatts |  | 10.4
Panel warantee |  | 10 yrs
Performance warantee |  | 25 yrs @80% output
Inverter manufacturer |  | xxx
Type |  | Micro
CSA/UL approved |  | yes
Watts per inverter |  | 250
Total kilowatts |  | 10
Cost per inverter |  | 200
Number of inverters |  | 40
Product warantee |  | 25 years
Rack ($/panel) |  | 43
Connectors ($/panel) |  | 45
Communications manufacturer |  | Gateway
Data by panel |  | yes
Racking Installation (hr/panel) |  | 0.3
Panel & inverter installation (hr/panel) |  | 0.4
Home run conduit & wiring (hrs) |  | 6
Labour rate ($/h) |  | 125
GST |  | 5%
PST |  | Exempt
Major equipment
All panels |  | 9200
All Inverters |  | 8000
Web communication monitoring |  | 600
Materials
All racking |  | 1720
Connectors |  | 1800
Wire, junction boxes, hardware |  | 2000
Permits
BC Hydro drawings & application process |  | 500
Installation labour
Racking |  | 1500
Panels & inverters |  | 2000
Wiring |  | 750
Total |  | 28070
GST |  | 1403.5
Total cost |  | 29473.5
$/Watt |  | 2.9473
Gibsons 2015 Jan-Dec performance | 1291 | kWh/kW
Assuming warantee efficiency loss | 0.8% | maximum loss/yr
| Efficiency | kWh/yr produced
(Assuming warantee efficiencies) 1 | 97% | 12910
2 | 96.22% | 12910
3 | 95.45% | 12816.0638
4 | 94.69% | 12713.5353
5 | 93.93% | 12611.827
6 | 93.18% | 12510.9324
7 | 92.44% | 12410.8449
8 | 91.7% | 12311.5582
9 | 90.96% | 12213.0657
10 | 90.24% | 12115.3612
11 | 89.51% | 12018.4383
12 | 88.8% | 11922.2908
13 | 88.09% | 11826.9124
14 | 87.38% | 11732.2971
15 | 86.68% | 11638.4388
16 | 85.99% | 11545.3313
17 | 85.3% | 11452.9686
18 | 84.62% | 11361.3449
19 | 83.94% | 11270.4541
20 | 83.27% | 11180.2905
21 | 82.6% | 11090.8481
22 | 81.94% | 11002.1214
23 | 81.29% | 10914.1044
24 | 80.64% | 10826.7916
25 | 79.99% | 10740.1772
Savings based on BC Hydro May 2015 | $/kwh
step 1 energy charge | 0.0797 | for first | 8100 | kWh/yr
step 2 energy charge | 0.1195 | for remaining energy used
Assumed inflation | 5% | $/yr savings
Blended step 1&2 including rate riser: 2016 | 0.1099 | 1418.8723
2017 | 0.1154 | 1489.816
2018 | 0.12117 | 1552.9245
2019 | 0.12723 | 1617.5262
2020 | 0.13359 | 1684.8152
2021 | 0.14027 | 1754.9036
2022 | 0.14728 | 1827.9075
2023 | 0.15465 | 1903.9485
2024 | 0.16238 | 1983.1528
2025 | 0.1705 | 2065.6519
2026 | 0.17902 | 2151.583
2027 | 0.18797 | 2241.0889
2028 | 0.19737 | 2334.3182
2029 | 0.20724 | 2431.4258
2030 | 0.2176 | 2532.5731
2031 | 0.22848 | 2637.9282
2032 | 0.23991 | 2747.666
2033 | 0.2519 | 2861.9689
2034 | 0.2645 | 2981.0268
2035 | 0.27772 | 3105.0375
2036 | 0.29161 | 3234.2071
2037 | 0.30619 | 3368.7501
2038 | 0.3215 | 3508.8901
2039 | 0.33758 | 3654.8599
2040 | 0.35445 | 3806.9021
|  | Cumulative savings by year | Value of 25 yr bond | 1.6%
1 |  | 1418.8723 | 29945.076
2 |  | 2908.6883 | 30424.1972
3 |  | 4461.6128 | 30910.9844
4 |  | 6079.139 | 31405.5601
5 |  | 7763.9542 | 31908.0491
6 |  | 9518.8578 | 32418.5779
7 |  | 11346.7653 | 32937.2751
8 |  | 13250.7138 | 33464.2715
9 |  | 15233.8666 | 33999.6999
10 |  | 17299.5185 | 34543.6951
11 |  | 19451.1015 | 35096.3942
12 |  | 21692.1904 | 35657.9365
13 |  | 24026.5086 | 36228.4635
14 |  | 26457.9344 | 36808.1189
15 |  | 28990.5076 | 37397.0488
16 |  | 31628.4358 | 37995.4016
17 |  | 34376.1018 | 38603.328
18 |  | 37238.0707 | 39220.9812
19 |  | 40219.0975 | 39848.5169
20 |  | 43324.135 | 40486.0932
21 |  | 46558.3421 | 41133.8707
22 |  | 49927.0922 | 41792.0126
23 |  | 53435.9823 | 42460.6848
24 |  | 57090.8422 | 43140.0558
25 |  | 60897.7443 | 43830.2967

## Step 2
Entered data is blue, calculations are black
5 kW system to minimize step 2 energy cost
General Information
Company
Contact
Office
Cell
Panel manufacturer |  | xxx
Type |  | polycrystaline
Watts per panel |  | 260
Cost per panel |  | 230
Number of panels |  | 20
Total panel kilowatts |  | 5.2
Panel warantee |  | 10 yrs
Performance warantee |  | 25 yrs @80% output
Inverter manufacturer |  | xxx
Type |  | Micro
CSA/UL approved |  | yes
Watts per inverter |  | 250
Total kilowatts |  | 5
Cost per inverter |  | 200
Number of inverters |  | 20
Product warantee |  | 25 years
Rack ($/panel) |  | 43
Connectors ($/panel) |  | 45
Communications manufacturer |  | Gateway
Data by panel |  | yes
Racking Installation (hr/panel) |  | 0.3
Panel & inverter installation (hr/panel) |  | 0.4
Home run conduit & wiring (hrs) |  | 6
Labour rate ($/h) |  | 125
GST |  | 5%
PST |  | Exempt
Major equipment
All panels |  | 4600
All Inverters |  | 4000
Web communication monitoring |  | 600
Materials
All racking |  | 860
Connectors |  | 900
Wire, junction boxes, hardware |  | 2000
Permits
BC Hydro drawings & application process |  | 500
Installation labour
Racking |  | 750
Panels & inverters |  | 1000
Wiring |  | 750
Total |  | 15960
GST |  | 798
Total cost |  | 16758
$/Watt |  | 3.3516
Gibsons 2015 Jan-Dec performance | 1291 | kWh/kW
Assuming warantee efficiency loss | 0.8% | maximum loss/yr
| Efficiency | kWh/yr produced
(Assuming warantee efficiencies) 1 | 97% | 6455
2 | 96.22% | 6455
3 | 95.45% | 6408.0319
4 | 94.69% | 6356.7676
5 | 93.93% | 6305.9135
6 | 93.18% | 6255.4662
7 | 92.44% | 6205.4225
8 | 91.7% | 6155.7791
9 | 90.96% | 6106.5328
10 | 90.24% | 6057.6806
11 | 89.51% | 6009.2191
12 | 88.8% | 5961.1454
13 | 88.09% | 5913.4562
14 | 87.38% | 5866.1486
15 | 86.68% | 5819.2194
16 | 85.99% | 5772.6656
17 | 85.3% | 5726.4843
18 | 84.62% | 5680.6724
19 | 83.94% | 5635.227
20 | 83.27% | 5590.1452
21 | 82.6% | 5545.4241
22 | 81.94% | 5501.0607
23 | 81.29% | 5457.0522
24 | 80.64% | 5413.3958
25 | 79.99% | 5370.0886
Savings based on BC Hydro May 2015 | $/kwh
step 1 energy charge | 0.0797 | for first | 8100 | kWh/yr
step 2 energy charge | 0.1195 | for remaining energy used
Assumed inflation | 5% | $/yr savings
Blended step 1&2 including rate riser: 2016 | 0.12548 | 809.9411
2017 | 0.13175 | 850.4382
2018 | 0.13834 | 886.4627
2019 | 0.14525 | 923.3395
2020 | 0.15252 | 961.7505
2021 | 0.16014 | 1001.7593
2022 | 0.16815 | 1043.4325
2023 | 0.17656 | 1086.8393
2024 | 0.18538 | 1132.0518
2025 | 0.19465 | 1179.1451
2026 | 0.20439 | 1228.1976
2027 | 0.2146 | 1279.2906
2028 | 0.22534 | 1332.5091
2029 | 0.2366 | 1387.9415
2030 | 0.24843 | 1445.6798
2031 | 0.26085 | 1505.8201
2032 | 0.2739 | 1568.4622
2033 | 0.28759 | 1633.7103
2034 | 0.30197 | 1701.6726
2035 | 0.31707 | 1772.4622
2036 | 0.33292 | 1846.1966
2037 | 0.34957 | 1922.9984
2038 | 0.36705 | 2002.9951
2039 | 0.3854 | 2086.3197
2040 | 0.40467 | 2173.1106
|  | Cumulative savings by year | Value of 25 yr bond | 1.6%
1 |  | 809.9411 | 17026.128
2 |  | 1660.3793 | 17298.546
3 |  | 2546.842 | 17575.3228
4 |  | 3470.1816 | 17856.5279
5 |  | 4431.932 | 18142.2324
6 |  | 5433.6913 | 18432.5081
7 |  | 6477.1238 | 18727.4282
8 |  | 7563.9631 | 19027.0671
9 |  | 8696.0149 | 19331.5002
10 |  | 9875.16 | 19640.8042
11 |  | 11103.3576 | 19955.057
12 |  | 12382.6482 | 20274.338
13 |  | 13715.1573 | 20598.7274
14 |  | 15103.0987 | 20928.307
15 |  | 16548.7786 | 21263.1599
16 |  | 18054.5987 | 21603.3705
17 |  | 19623.0609 | 21949.0244
18 |  | 21256.7712 | 22300.2088
19 |  | 22958.4438 | 22657.0121
20 |  | 24730.9059 | 23019.5243
21 |  | 26577.1026 | 23387.8367
22 |  | 28500.1009 | 23762.0421
23 |  | 30503.0961 | 24142.2348
24 |  | 32589.4158 | 24528.5105
25 |  | 34762.5264 | 24920.9667

## Minimal
Entered data is blue, calculations are black
1 kW minimal system
General Information
Company
Contact
Office
Cell
Panel manufacturer |  | xxx
Type |  | polycrystaline
Watts per panel |  | 260
Cost per panel |  | 230
Number of panels |  | 4
Total panel kilowatts |  | 1.04
Panel warantee |  | 10 yrs
Performance warantee |  | 25 yrs @80% output
Inverter manufacturer |  | xxx
Type |  | Micro
CSA/UL approved |  | yes
Watts per inverter |  | 250
Total kilowatts |  | 1
Cost per inverter |  | 200
Number of inverters |  | 4
Product warantee |  | 25 years
Rack ($/panel) |  | 43
Connectors ($/panel) |  | 45
Communications manufacturer |  | Gateway
Data by panel |  | yes
Racking Installation (hr/panel) |  | 0.3
Panel & inverter installation (hr/panel) |  | 0.4
Home run conduit & wiring (hrs) |  | 6
Labour rate ($/h) |  | 125
GST |  | 5%
PST |  | Exempt
Major equipment
All panels |  | 920
All Inverters |  | 800
Web communication monitoring |  | 0
Materials
All racking |  | 172
Connectors |  | 180
Wire, junction boxes, hardware |  | 2000
Permits
BC Hydro drawings & application process |  | 500
Installation labour
Racking |  | 150
Panels & inverters |  | 200
Wiring |  | 750
Total |  | 5672
GST |  | 283.6
Total cost |  | 5955.6
$/Watt |  | 5.9556
Gibsons 2015 Jan-Dec performance | 1291 | kWh/kW
Assuming warantee efficiency loss | 0.8% | maximum loss/yr
| Efficiency | kWh/yr produced
(Assuming warantee efficiencies) 1 | 97% | 1291
2 | 96.22% | 1291
3 | 95.45% | 1281.6064
4 | 94.69% | 1271.3535
5 | 93.93% | 1261.1827
6 | 93.18% | 1251.0932
7 | 92.44% | 1241.0845
8 | 91.7% | 1231.1558
9 | 90.96% | 1221.3066
10 | 90.24% | 1211.5361
11 | 89.51% | 1201.8438
12 | 88.8% | 1192.2291
13 | 88.09% | 1182.6912
14 | 87.38% | 1173.2297
15 | 86.68% | 1163.8439
16 | 85.99% | 1154.5331
17 | 85.3% | 1145.2969
18 | 84.62% | 1136.1345
19 | 83.94% | 1127.0454
20 | 83.27% | 1118.029
21 | 82.6% | 1109.0848
22 | 81.94% | 1100.2121
23 | 81.29% | 1091.4104
24 | 80.64% | 1082.6792
25 | 79.99% | 1074.0177
Savings based on BC Hydro May 2015 | $/kwh
step 1 energy charge | 0.0797 | for first | 8100 | kWh/yr
step 2 energy charge | 0.1195 | for remaining energy used
Assumed inflation | 5% | $/yr savings
Blended step 1&2 including rate riser: 2016 | 0.12548 | 161.9882
2017 | 0.13175 | 170.0876
2018 | 0.13834 | 177.2925
2019 | 0.14525 | 184.6679
2020 | 0.15252 | 192.3501
2021 | 0.16014 | 200.3519
2022 | 0.16815 | 208.6865
2023 | 0.17656 | 217.3679
2024 | 0.18538 | 226.4104
2025 | 0.19465 | 235.829
2026 | 0.20439 | 245.6395
2027 | 0.2146 | 255.8581
2028 | 0.22534 | 266.5018
2029 | 0.2366 | 277.5883
2030 | 0.24843 | 289.136
2031 | 0.26085 | 301.164
2032 | 0.2739 | 313.6924
2033 | 0.28759 | 326.7421
2034 | 0.30197 | 340.3345
2035 | 0.31707 | 354.4924
2036 | 0.33292 | 369.2393
2037 | 0.34957 | 384.5997
2038 | 0.36705 | 400.599
2039 | 0.3854 | 417.2639
2040 | 0.40467 | 434.6221
|  | Cumulative savings by year | Value of 25 yr bond | 1.6%
1 |  | 161.9882 | 6050.8896
2 |  | 332.0759 | 6147.7038
3 |  | 509.3684 | 6246.0671
4 |  | 694.0363 | 6346.0042
5 |  | 886.3864 | 6447.5402
6 |  | 1086.7383 | 6550.7009
7 |  | 1295.4248 | 6655.5121
8 |  | 1512.7926 | 6762.0003
9 |  | 1739.203 | 6870.1923
10 |  | 1975.032 | 6980.1154
11 |  | 2220.6715 | 7091.7972
12 |  | 2476.5296 | 7205.266
13 |  | 2743.0315 | 7320.5502
14 |  | 3020.6197 | 7437.679
15 |  | 3309.7557 | 7556.6819
16 |  | 3610.9197 | 7677.5888
17 |  | 3924.6122 | 7800.4302
18 |  | 4251.3542 | 7925.2371
19 |  | 4591.6888 | 8052.0409
20 |  | 4946.1812 | 8180.8736
21 |  | 5315.4205 | 8311.7675
22 |  | 5700.0202 | 8444.7558
23 |  | 6100.6192 | 8579.8719
24 |  | 6517.8832 | 8717.1499
25 |  | 6952.5053 | 8856.6243